General Technical Specifications

for

Human Machine Interface ( HMI )

Prescription  -“Specifications” -  Human Machine  Interface

| Aim of the “Specifications” document | The purpose of this document is to provide the necessary description of Human Machine Interface (HMI) architecture that will be a major component of the automation solution. This description will be used to qualify available products in terms of functionality, capability and other operating requirements. Ultimately allowing bidders to identify technology that match or exceed the desired capabilities. This document is intended to be used to prescribe and answer HMI GTO solution during the consultations. |
| --- | --- |

This specification	           This document is divided in two parts

defines:  	           First part :

It describes a sample of “Customer Requirements” directed on the characteristics and principal/differentiating advantages of the HMI solutions

This part can be reused to make a new prescription or consultation with an other HMI model

Second part :

It describes all HMIGTO functionalities to adapt the first part to prescribe other HMI model or to give the right answer to a customer consultation.

Basic Configuration Diagram HMI :

Table of contents

1	AIM OF THIS PRESCRIPTION

2	SCOPE OF THE PRESCRIPTION

3	DEFINITIONS AND ACRONYMS

4         PRODUCTS CHARACTERSTICS

5	DESCRIPTION

6	SOFTWARE REQUIREMENTS                                                                               9

1.	 AIM OF THIS PRESCRIPTION

This document describes the requirements applicable to the Human Machine Interface (HMI) used in the (Describe the Automation customer application) of (Customer’s Name).

# 2. 	SCOPE OF THE PRESCRIPTION

This specification describes the requirements of the HMIs used in (Describe the Automation customer application).

The supplier of the HMI shall provide written evidence on fulfillment of the requirements stated in this specification. The declaration of conformity shall list all the chapters, stating the fulfillment of each of them. Every fulfilled point shall be justified and documented in detail. Any deviation to this specification shall be clearly indicated and justified indicating the advantages and disadvantages (cost, technical advantages,) of the proposed alternative.

The supplier shall also indicate the installation, maintenance, utilization and safety requirements of the offered model.

# 3. 	DEFINITIONS AND ACRONYMS

HMI: Human Machine Interface.

PLC: Programmable Logic Controller.

CF: Compact Flash

SD: Scan Disk

RTC: Real Time Clock

Product Characterstics :

| Rated Input Voltage | 24 VDC |
| --- | --- |
| Voltage Drop | 10ms or less |
| Effective Display Area | W211.2 x H158.4 mm (8.31 x 6.24 in.) |
| Display Type | TFT Colour LCD |
| Display size | 10.4 inch |
| Display resolution | 640 X 480 Pixel VGA |
| Display colour | 65K colours |
| Temperature | 0-55°C working -20-60°C Storage |
| Degree Of Protection | IP66K front panel conforming to DIN 40050-9 IP66K front panel conforming to IEC 60529 IP20 rear panel conforming to IEC 60529 |
| Language Fonts | ASCII: (Code page 850) Alphanumeric (including European characters) Chinese: (GB2312-80 codes) Simplified Chinese fonts Japanese: ANK 158, Kanji: 6,962 (JIS Standards 1 & 2) (including 607 non-kanji characters) Korean: (KSC5601 - 1992 codes) Hangul fonts Taiwanese: (Big 5 codes) Traditional Chinese fonts |
| Integrated connection type | Ethernet RJ45, interface: IEEE 802.3 Ethernet RJ45, interface: 10BASE-T/100BASE-TX USB 2.0 port mini B USB USB 2.0 port USB type A COM2 serial link RJ45, interface: RS485, transmission rate: 187.5 kbps compatible with Siemens MPI COM2 serial link RJ45, interface: RS485, transmission rate: 2400...115200 bps COM1 serial link SUB-D 9, interface: RS232C, transmission rate: 2400...115200bps |
| Protocol | Modbus , TCP/IP, Ethernet |
| Application Memory | 96 MB |
| Front Material | Stainless steel 304 |
| Component | Conformal Coated |
| Enclosure Material | PPT |
| Product Certification | ATEX-II Zone 22/2 Dust C ULus 508 ,CE , GOST ,RoHS ,C-Tick |

# 4. DESCRIPTION

The HMI is used in order to operate automation applications and assess the state of it. The HMI is connected to a PLC, which collects the information from multiple sensors and governs the actuators. By means of the HMI the user can operate the machine and visualize the state and values of the whole system.

The HMI will assure an IP66  (according to IEC 60529) & NEMA 4X protection degree in the front panel when mounted in the available cut. The protection degree in the rear panel (inside the cabinet) will be IP20.

The maximum allowed weight is 2.5kg with Stainless Steel Bezel

## VIBRATION IMMUNITY :

1 gn (f = 9...150 Hz) conforming to EN/IEC 61131-2 X, Y, Z directions for 10 cycles (approx. 100 min)

3.5 mm (f = 5...9 Hz) conforming to EN/IEC 61131-2 X, Y, Z directions for 10 cycles (approx. 100 min)

SHOCK RESISTANCE:

## 147 m/s² 3 chocs in each direction X, Y and Z conforming to EN/IEC 61131-2

ELECTRO STATIC DISCHARGE :

6 kV contact discharge conforming to IEC 61000-4-2 level 3

## BUILT-IN BATTERY

A battery-less design is preferred. In case that an internal battery is needed a minimum of 10 years no-maintenance requirement is a must.

## TOUCH PANEL  AND SCREEN

The screen will be touch sensitive with a minimum of 1024 x 1024 Touch Sensitive zone  with backlit colour TFT LCD.

The visualization display will have a 640 x 480 pixel viewing resolution and it will be properly visualized in a 55º  viewing angle in any direction.

The back light of the HMI shall automatically switch off after a pre-adjustable time period.Other minimum requirements are specified as follows:

## INTEGRATED COMMUNICATION PORTS AND OTHER CONNECTIONS

Ethernet RJ45, interface: IEEE 802.3

Ethernet RJ45, interface: 10BASE-T/100BASE-TX

USB 2.0 port mini B USB

USB 2.0 port USB type A

COM2 serial link RJ45, interface: RS485, transmission rate: 187.5 kbps compatible

with Siemens MPI

COM2 serial link RJ45, interface: RS485, transmission rate: 2400...115200 bps

COM1 serial link SUB-D 9, interface: RS232C, transmission rate: 2400...115200

Bps

### Ethernet Interface

The interface shall allow the user to monitor and command the HMI. It shall also be possible to load and download program and data to both internal and external CF memories This interface must support Modbus TCP communication protocol.

SD Card Interface

A SD memory card slot will be available. The SD will be used to store the program and data of the HMI.SD Card slot x 1 (maximum 32 GB SD/SDHC Card)

(Note: Original HMI manufacturer memory card must be used.)

# ENVIRONMENTAL CONDITIONS

TEMPERATURE :

- Ambient temperature operation : 0ºC /+ 55ºC

- Ambient temperature (storage/transport) -20ºC / + 60ºC

## HUMIDITY

- Maximum permissible relative humidity (continuous operation): 10-90% (without condensation)

## ALTITUDE

Maximum Altitude ≤ 2000m above the sea level.

## HMI FRONT FACE CHEMICAL COMPATIBILITY

HMI Front Face must resist to chemical substance like: Oils, Food & Beverage

Liquid and Chemical detergent and comply to DIN EN 1672-2 "Food processing

machines – Safety and Hygiene Requirements". and HMI should have no holes

or studs around Panel Cut Out

## MACHINES FOR SPECIAL ATMOSPHERES

HMI should be conformal Coated & Resist Jet Pressure upto 10 Bar with IP66

Protection AND Comply to Atex Zone 22/2

- For more corrosive atmospheres a higher protection degree is desirable for the HMI

# NAME PLATE

A visible nameplate must be placed in the rear of the HMI with the following data:

  - Manufacturer’s name and address.

  - Year of manufacturing.

  - Model reference and serial number.

  - Firmware version

  - Voltage supply characteristics

  - CE Mark

  - UL Mark

# TESTS AND CERTIFICATIONS

  - Test results for all characteristics stated in this specification will be required in order to support the values declared by the manufacturer. Any deviation shall be clearly declared in the annex of this document. The manufacturer shall indicate the advantages and disadvantages of each deviation.

  - The HMI must be CE , C Tick and UL marked. This is a compulsory requirement.

And Comply  Underwriters Laboratories Inc., UL508, Industrial Control

Equipment

􀁺 ATEX Zone 2/22

􀁺 DNV/ BV for Marine

UL508: Industrial Control Equipment.

Programmable Controllers: EN/IEC 61131-2

EMI: EN55011 (Group 1, Class A)

# HMI SOFTWARE MINIMUM REQUIRED FUNCTIONS

  - Display of animated synoptic screens with different types of animation (e.g. pressing touch-sensitive zone, changing of color, filling, movement, rotation, size, visibility and value display).

  - Possibility of control and modification of numeric and alphanumeric variables.

  - Display of date and time.

  - Real-time and trending curves with log.

  - Multi-window with emerging menus management.

  - Pages can be called up by the user.

  - Multilingual application management (at least 10 languages simultaneously).

  - Application and log support in CF, SD format external application memory card or USB.

  - Management of sound messages and integration with images.

  - Availability of screens design and configuration software in a Windows environment.

  - Extension capabilities and migration utilities between terminals improvements

  - Built-in applications for alarms, event and messages management with dynamic capabilities and with no limitation in the number of alarms.

  - Built-in applications for login and control access

  - Resource files concept and facilities for Multilanguage migrations

  - Capability to customize the built-in applications in aspect and functionality

  - Dynamic screen capabilities: dynamic texts, graphs etc

  - HMI variables accessible to/from the Display and to/from the HMI controller

  - Recipes.

  - Remote Monitoring & Control using Webgate.

  - Program uploading & Downloading Using USB

  - All included, no extra cost for each function above

### Ease of Use

- Create applications using a WYSIWYG editor

- Use an icon driven, drag-and-drop interface

- Quickly view and access information, define settings, track errors, and select precreated graphical objects using easy-to-read Tool Windows

- Navigator

- Property Inspector

- Graphic List

- Feedback Zone

- InfoViewer

- Toolchest

### Graphical Objects

- Draw basic shapes such as rectangle,line, dot, arc, ellipse, pie, polyline, polygon,

- text object and image object

- Import JPEG, Bitmap, and WMF image files

- Animate graphical objects and image fi les

- Drag and drop HMI objects such as switches, lamps, data displays, meters, graphs, and alarm summaries

- Choose from over 4000 ready-made graphical images from the toolchest and image library

### Alarms

- Display alarms in Alarm Summaries or Alarm Banners

- Display both diagnositc and variable alarms

- Monitor bit and word addresses

- Group alarms in Alarm Categories

- Trigger alarms by Limit, Deviation by Percent, or Deviation by Fixed

- View three types of Alarm Summary displays: Active, History, and Log

- Acknowledge individually or as a group

- Runtime language swapping for alarm messages

- Print and save alarm logs

### Data logging

- Analyze, audit, and track performance

- Display logged data in a Trend Graph:

• Historical Trend Graph

• Real-Time Trend Graph

• Plot Trend Graph

• Toolchest Trend Graph item

- Collect data at regular intervals or when a trigger is activated

- Store data in DRAM, SRAM, USB storage, CF card, or network storage

- Convert data logging files into .CSV fi les

- Display logged data from multiple terminals

### Reports

- Create  WYSIWYG panel reports

- Display object information in panel reports

- Create variable reports with cross references

### Security

- Based on individual users as well as groups of users

- Control access to:

• Panels

• Popup windows

• Objects such as switches and data displays

• Function Keys

• Parts

• Downloading

• Data Manager

• Web Gate

• Lock an object by graying out the object, displaying a locked-out icon on the   object, or making the object invisible

• Automatically log out inactive operators

### Recipes

- Maintain a consistent production process

- Edit Recipes using an easy-to-use spreadsheet editor

- Use ready-made Recipe parts or a Recipe Manager

- Retrieve, send, and edit recipe files using Data Manager

- Convert Recipe files to .TXT or .CSV files

- Create or modify Recipes at Runtime

### Simulation

- Simulate applications in WYSIWYG, simulation tool

- Simulate devices and PLCs

- Simulate variable data

### Master Panels

- Apply common panel designs to multiple panels to reduce design time

- Maintain consistent look and feel across panels

- Set up expressions or variables to show or hide the panel layer dynamically at Runtime

### Multiple Languages

- Use up to 15 different languages in an application

- Choose from 40 character sets including English, Chinese, Arabic, and others

### Downloads

- Update applications and the Vijeo Designer Runtime with a single download

- Download over Ethernet port, Serial port, or USB port

- Download to a SD card or USB memory

### Actions

- Create and run operations effortlessly using Actions

- Create global and panel actions using an Action Wizard for the following operations:

• Bit, word, or string

- Panel

• Popup window

• Sound

• Language

• Web browser

• Video

• Script

• System information

• Copy data

• Runtime

### Communications

- Connect to Modbus Protocol

- Connect to most of the major protocols on the market from Siemens, Rockwell,

Omron,Schneider, GE Fanuc, Panasonic, and Mitsubishi

- Use multiple protocols at once

- Connect a wide range of peripherals including, printers, web cameras, barcode

- readers, USB keyboard and mouse, and external storage devices

### Data Sharing

- Synchronize data and processes between multiple terminals

- Share up to 300 variables between 8 terminals

- Expose a PLC’s register values to other PLCs

### Networking

- Use DHCP for easy plug-in network configuration, or configure IP settings manually

- Use the terminal as a communication bridge between networks

- Open hyperlinks to web sites embedded in local documents using DNS

### Remote Monitoring

- Monitor a terminal remotely using Web Gate

- Share data across a network between a terminal and a remote PC