While offline select Project Settings
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 Select: Time.
 Select: Coordinated  Universal Time
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While online select Tools\PLC Screen
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You can now initialize the PLC clock with your PC time (left tab)                                                                                               Otherwise you can enter a preset time of your choosing (right tab)                                                                              Access to the RTC values are available in %SW49 – 53 
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