## Boiler Plate
ATV Drive Part Number | Description | Main Control Board Part Number | Availability as of 7/18/2016
ATV66U41N4 | Main Control Board | VX4A66CK1 | Obs
ATV66U54N4 | Main Control Board | VX4A66CK1 | Obs
ATV66U72N4 | Main Control Board | VX4A66CK1 | Obs
ATV66U90N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D12N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D16N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D23N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D33N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D46N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D54N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D64N4 | Main Control Board | VX4A66CK1 | Obs
ATV66D79N4 | Main Control Board | VX4A66CK1 | Obs
ATV66C10N4 | Main Control Board | VX4A66CK2 | Obs
ATV66C13N4 | Main Control Board | VX4A66CK2 | Obs
ATV66C15N4 | Main Control Board | VX4A66CK2 | Obs
ATV66C19N4 | Main Control Board | VX4A66CK2 | Obs
ATV66C23N4 | Main Control Board | VX4A66CK2 | Obs
ATV66C28N4 | Main Control Board | VX4A66CK2 | Obs
ATV66C31N4 | Main Control Board | VX4A66CK2 | Obs
ATV66U41M2 | Main Control Board | VX4A66CK1 | Obs
ATV66U72M2 | Main Control Board | VX4A66CK1 | Obs
ATV66U90M2 | Main Control Board | VX4A66CK1 | Obs
ATV66D12M2 | Main Control Board | VX4A66CK1 | Obs
ATV66D16M2 | Main Control Board | VX4A66CK1 | Obs
ATV66D23M2 | Main Control Board | VX4A66CK1 | Obs
ATV66D33M2 | Main Control Board | VX4A66CK1 | Obs
ATV66D46M2 | Main Control Board | VX4A66CK1 | Obs
ATV66D23M2S264 | Main Control Board | VX4A66CK1S260 | AVAIL
AVAIL. = Available as of this date
*FS= Parts are only available from Field Services and require FS installation.
NR = Not replacable
Obs = Obsolete no longer available
Helpful Links
The drive MAY be repairable even if parts are no longer available for sale. Contact Schneider Electric Industrial Repair Service (SEIRS) at 800-950-9550
Contact your local Schneider Electric distributor for a replacement drive. (search here)
New! Try our Drive and SoftStart selection tool for self selection (open style devices)
Technical Support for AC drives and soft starters: 888-SQUARED (888-778-2733) select option 1 for Technical Support and then option 4 for AC Drives and Softstarts.
Technical Support is available from 8am EST to 8pm EST M-F and 24 hours a day for EMERGENCIES.