## Slide 1
Character | Rating | Trip Unit
No Character | 80% | Fixed
C** | 100% | Fixed
T* | 80% | Field Interchangeable
R* | 100% | Field Interchangeable
W | J-frame = 80% L-frame = 100% for 250/400A and 80% for 600A | Mission Critical (Selective)
G | 80% Grounded | Factory Installed
J | 80% Ungrounded | Factory Installed
K | 100% Grounded | Factory Installed
L | 100% Ungrounded | Factory Installed
Y*** | Wye rated only, not delta rated, example: 480Y/277Vac | Fixed
 | **For 100% rated H/J Frame, breakers may only be NON I-line construction | 
 | ***Reserved when required to differentiate between delta and wye ratings, if the same product family has different offers to cover each, i.e. PowerPact B; not E, which is wye only | 
NOTE: This graphic representation of PLS001 is a summary of the detailed Product Line Standard 001 document prepared by the Circuit Breaker Product Line Management Team in Cedar Rapids. It does not include all information found in that document. For details, and for revision history, please refer to that document.
Page 1 of 4

## Slide 2
Page 2 of 4

## Slide 3
Page 3 of 4
G
A
S, F/K/U, M/N
B
V
R
T
To more installed options (Page 4)

## Slide 4
Page 4 of 4
H
D
C
Y
P
L
J
More Installed Options