## Slide 1: EcoStruxure Power Design- Ecodial
Presented by: Rashmi Kumari
Schneider Electric
In Ecodial , how to have modular contactors solution in Ecodial application so that user can choose the right solution?
Notes: Chapter | Slide nbr | Title/objectives | Timing
Training introduction – presentation and objectives |  |  | 17min
Introduction | 2 | Round table | 15’
 | 3 | Training program – Objectives | 2’
Why change management? |  |  | 8min
Why change management? | 5 | Context of change management for ecorealXL trainings | 2’
 | 6 | Psychological reactions to change | 6’
Driving change management |  |  | 42min
Driving change management | 8-12 | Communication adapted to each phase | 31’
 | 12-14 | Obtaining the users’ support | 11’
Managing trainings |  |  | 25min
Managing trainings | 17 | Managing time and rhythm | 15’
 | 18 | Managing attention | 10’
15min break |  |  | 
Preparing trainings |  |  | 30min
Preparing trainings | 21 | Discussion – How to prepare ecorealXL trainings? | 15’
 | 22 | Prerequisites for the trainer | 2’
 | 23-26 | Checking and preparing the material | 8’
 | 27 | Informing trainees | 2’
 | 28 | Enrolling trainees | 3’
Feedbacks on training |  |  | 21min
Feedbacks on training | 30 | Discussion – What should you do after each training? | 15’
 | 31 | Checking and cleaning | 3’
 | 32 | Send feedbacks | 3’
Conclusion |  |  | 20min
Conclusion | 34 | Checking expectations – remaining questions | 20’

## Slide 2
How to have modular contactors solution in Ecodial application so that user can choose the right solution!
if the user has selected ‘modular contactors = Yes, then a 'solution window’ should appear with the following fields:
  Contactor designation
  Rating (A)
  Poles

## Slide 3
  The same should appear as columns in the ‘Solution table’. Results will appear in rows
How to have modular contactors solution in Ecodial application so that user can choose the right solution!

## Slide 4
  When Mod. contactor = yes; then circuit breakers with trip units B & C should be proposed
How to have modular contactors solution in Ecodial application so that user can choose the right solution!

## Slide 5
if the solution is unable to find circuit breakers with trip unit B & C, then an error message should be displayed stating “unable to find a suitable circuit breaker…disable the Mod. contactor and then proceed”
if the user chooses a circuit breaker other than B & C, then error message should be displayed stating “Mod. contactor should be disabled as it doesn’t work with this trip unit”
How to have modular contactors solution in Ecodial application so that user can choose the right solution!
Notes: .

## Slide 6
NOTE: user will not have a choice to modify the output from Ecodial. No ‘manual choice’ controller for this solution .
How to have modular contactors solution in Ecodial application so that user can choose the right solution!
Notes: .