## Empty boxes
Existing references |  | New references | Major color difference | Other differences, if any
XAPJ11 | → | XAPK11 | Yellow RAL 1004 base | M20 output cable gland
XAPJ11H29 | → | XAPK11 | Yellow RAL 1004 base
XAPJ1201 | → | XAPK1201 | Yellow RAL 1004 base | M20 output cable gland
XAPJ1201H29 | → | XAPK1201 | Yellow RAL 1004 base
XAPJ14 | → | XAPK14 | Yellow RAL 1004 base | M20 output cable gland
XAPJ14H29 | → | XAPK14 | Yellow RAL 1004 base
XAPJ1501 | → | XAPK1501 | Yellow RAL 1004 base | M20 output cable gland
XAPJ1501H29 | → | XAPK1501 | Yellow RAL 1004 base
XAPJ1601 | → | XAPK14 | Yellow RAL 1004 base | Drill a 30 mm with notch, M20 output cable gland
XAPJ1601H29 | → | XAPK14 | Yellow RAL 1004 base | Drill a 30 mm with notch
XAPJ34 | → | XAPD34 | Grey RAL 7035 lid and base | Use configuration tool with legend panel, M25 output cable gland
XAPJ3802 | → | XAPD34 | Grey RAL 7035 lid and base | Use configuration tool with legend panel, drill a 30 mm with notch, use M25 output cable gland
XAPM11 | → | XAPD11 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1100 | → | XAPD11 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM11H29 | → | XAPD11 | Grey RAL 7035 lid and base
XAPM1201 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1201H2 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1201H29 | → | XAPD1201 | Grey RAL 7035 lid and base
XAPM1201H6 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1201H7 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1202 | → | XAPD1202 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1202H2 | → | XAPD1202 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1202H29 | → | XAPD1202 | Grey RAL 7035 lid and base
XAPM14 | → | XAPD14 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1400 | → | XAPD14 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM14H2 | → | XAPD14 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM14H29 | → | XAPD14 | Grey RAL 7035 lid and base
XAPM1501 | → | XAPD1501 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1501H2 | → | XAPD1501 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1501H29 | → | XAPD1501 | Grey RAL 7035 lid and base
XAPM1502 | → | XAPD1502 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1502H2 | → | XAPD1502 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1502H29 | → | XAPD1502 | Grey RAL 7035 lid and base
XAPM1601 | → | XAPD1601 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1601H2 | → | XAPD1601 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM1601H29 | → | XAPD1601 | Grey RAL 7035 lid and base
XAPM21 | → | XAPD21 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2100 | → | XAPD21 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM21H29 | → | XAPD21 | Grey RAL 7035 lid and base
XAPM2202 | → | XAPD2202 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPM2202H2 | → | XAPD2202 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPM2202H29 | → | XAPD2202 | Grey RAL 7035 lid and base | 50 mm between holes instead of 40 mm
XAPM2203 | → | XAPD2203 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2203H2 | → | XAPD2203 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2203H29 | → | XAPD2203 | Grey RAL 7035 lid and base
XAPM2204 | → | XAPD2204 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2204H2 | → | XAPD2204 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2204H29 | → | XAPD2204 | Grey RAL 7035 lid and base | 50 mm between holes instead of 40 mm
XAPM24 | → | XAPD24 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2400 | → | XAPD24 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM24H29 | → | XAPD24 | Grey RAL 7035 lid and base
XAPM2502 | → | XAPD2502 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPM2502H2 | → | XAPD2502 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPM2502H29 | → | XAPD2502 | Grey RAL 7035 lid and base | 50 mm between holes instead of 40 mm
XAPM2503 | → | XAPD2503 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2503H2 | → | XAPD2503 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2503H29 | → | XAPD2503 | Grey RAL 7035 lid and base
XAPM2504 | → | XAPD2504 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2504H29 | → | XAPD2504 | Grey RAL 7035 lid and base
XAPM2602 | → | XAPD2602 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2602H2 | → | XAPD2602 | Grey RAL 7035 lid and base | M20 output cable gland
XAPM2602H29 | → | XAPD2602 | Grey RAL 7035 lid and base
XAPM31 | → | XAPD31 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3100 | → | XAPD31 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM31H29 | → | XAPD31 | Grey RAL 7035 lid and base
XAPM3203 | → | XAPD3203 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM3203H2 | → | XAPD3203 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM3203H29 | → | XAPD3203 | Grey RAL 7035 lid and base | 50 mm between holes instead of 40 mm
XAPM3203H6 | → | XAPD3203 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM3204 | → | XAPD3204 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3204H2 | → | XAPD3204 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3204H29 | → | XAPD3204 | Grey RAL 7035 lid and base
XAPM3204H6 | → | XAPD3204 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3206 | → | XAPD3206 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3206H2 | → | XAPD3206 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3206H29 | → | XAPD3206 | Grey RAL 7035 lid and base
XAPM34 | → | XAPD34 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3400 | → | XAPD34 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM34H2 | → | XAPD34 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM34H29 | → | XAPD34 | Grey RAL 7035 lid and base
XAPM3503 | → | XAPD3503 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM3503H2 | → | XAPD3503 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM3503H29 | → | XAPD3503 | Grey RAL 7035 lid and base | 50 mm between holes instead of 40 mm
XAPM3504 | → | XAPD3504 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3504H2 | → | XAPD3504 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3504H29 | → | XAPD3504 | Grey RAL 7035 lid and base
XAPM3506 | → | XAPD3506 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3506H2 | → | XAPD3506 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3506H29 | → | XAPD3506 | Grey RAL 7035 lid and base
XAPM3603 | → | XAPD3603 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3603H2 | → | XAPD3603 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM3603H29 | → | XAPD3603 | Grey RAL 7035 lid and base
XAPM3802 | → | XAPD2602 | Grey RAL 7035 lid and base | M20 output cable gland, box height 130mm instead of 175
XAPM44 | → | XAPD44 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4400 | → | XAPD44 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM44H2 | → | XAPD44 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM44H29 | → | XAPD44 | Grey RAL 7035 lid and base
XAPM4504 | → | XAPD4504 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM4504H2 | → | XAPD4504 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPM4505 | → | XAPD4505 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4506 | → | XAPD4506 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4506H2 | → | XAPD4506 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4506H29 | → | XAPD4506 | Grey RAL 7035 lid and base
XAPM4508 | → | XAPD4508 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4508H2 | → | XAPD4508 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4508H29 | → | XAPD4508 | Grey RAL 7035 lid and base
XAPM4604 | → | XAPD4604 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4604H2 | → | XAPD4604 | Grey RAL 7035 lid and base | M25 output cable gland
XAPM4604H29 | → | XAPD4604 | Grey RAL 7035 lid and base
XAPM54 | → | XAPD54 | Grey RAL 7035 lid and base | M32 output cable gland
XAPM5400 | → | XAPD54 | Grey RAL 7035 lid and base | Use a second blanking plug
XAPM54H29 | → | XAPD54 | Grey RAL 7035 lid and base
XAPM5508 | → | XAPD5508 | Grey RAL 7035 lid and base | M32 output cable gland
XAPM5508H29 | → | XAPD5508 | Grey RAL 7035 lid and base
XAPM5512 | → | XAPD5510 | Grey RAL 7035 lid and base | M32 output cable gland, 50 mm between holes instead of 40 mm, 2 x 5 holes instead of 2 x 6
XAPM5512H29 | → | XAPD5510 | Grey RAL 7035 lid and base | 50 mm between holes instead of 40 mm, 2 x 5 holes instead of 2 x 6
XAPM5606 | → | XAPD5606 | Grey RAL 7035 lid and base | M32 output cable gland
XAPM5606H29 | → | XAPD5606 | Grey RAL 7035 lid and base
XAPH1201 | → | XAPK1201 | Yellow RAL 1004 base | M20 output cable gland
XAPH1201H29 | → | XAPK1201 | Yellow RAL 1004 base
XAPH1501 | → | XAPK1501 | Yellow RAL 1004 base | M20 output cable gland
XAPH1601 | → | XAPK14 | Yellow RAL 1004 base | Drill a 30 mm with notch, M20 output cable gland
XAPG11 | → | XAPD11 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG1201 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG1202 | → | XAPD1202 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG14 | → | XAPD14 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG1501 | → | XAPD1501 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG1502 | → | XAPD1502 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG1601 | → | XAPD1601 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG19100 | → | Keep in scope
XAPG19201 | → | Keep in scope
XAPG19400 | → | Keep in scope
XAPG19501 | → | Keep in scope
XAPG19601 | → | Keep in scope
XAPG19702 | → | Keep in scope
XAPG19802 | → | Keep in scope
XAPG2202 | → | XAPD2202 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPG2203 | → | XAPD2203 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG24 | → | XAPD24 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG2502 | → | XAPD2502 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPG2503 | → | XAPD2503 | Grey RAL 7035 lid and base | M20 output cable gland
XAPG2504 | → | XAPD2504 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPG29100 | → | Keep in scope
XAPG29202 | → | Keep in scope
XAPG29400 | → | Keep in scope
XAPG29502 | → | Keep in scope
XAPG29602 | → | Keep in scope
XAPG29703 | → | Keep in scope
XAPG29803 | → | Keep in scope
XAPG31 | → | XAPD31 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG3203 | → | XAPD3203 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPG34 | → | XAPD34 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG3503 | → | XAPD3503 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPG3504 | → | XAPD3504 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG3506 | → | XAPD3506 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPG3603 | → | XAPD3603 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG3802 | → | XAPD2602 | Grey RAL 7035 lid and base | M20 output cable gland, box height 130mm instead of 175
XAPG39100 | → | Keep in scope
XAPG39203 | → | Keep in scope
XAPG39400 | → | Keep in scope
XAPG39503 | → | Keep in scope
XAPG39704 | → | Keep in scope
XAPG39804 | → | Keep in scope
XAPG44 | → | XAPD44 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG4506 | → | XAPD4506 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG4508 | → | XAPD4508 | Grey RAL 7035 lid and base | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPG4604 | → | XAPD4604 | Grey RAL 7035 lid and base | M25 output cable gland
XAPG49400 | → | Keep in scope
XAPG49504 | → | Keep in scope
XAPG59400 | → | Keep in scope
XAPG59505 | → | Keep in scope
XAPR1501 | → | XAPO1501 |  | M20 output cable gland
XAPR1601 | → | XAPO1601 |  | M20 output cable gland
XAPR2502 | → | XAPO2502 |  | M20 output cable gland, 50 mm between holes instead of 40 mm
XAPR3503 | → | XAPO3503 |  | M25 output cable gland, 50 mm between holes instead of 40 mm
XAPR3504 | → | XAPO3504 |  | M25 output cable gland
XAPR3603 | → | XAPO3603 |  | M25 output cable gland
XAPR3802 | → | XAPO2602 |  | M25 output cable gland
XAPR4506 | → | XAPO4506 |  | M25 output cable gland
XAPR4604 | → | XAPO4604 |  | M25 output cable gland

## Complete boxes
Existing references |  | New references | Major color difference | Other differences, if any | Head Button pos.1 | Head Button pos.2 | Head Button pos.3 | Contact & Led pos.1 | Contact & Led pos.2 | Contact & Led pos.3 | Marking of functions pos.1 | Marking of functions pos.2 | Marking of functions pos.3
XAPM1010 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland | ZB4BA3 | None | None | ZB4BZ101 | None | None | ZBY2103 (MARCHE) | None | None
XAPM1011 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland | ZB4BA4 | None | None | ZB4BZ102 | None | None | ZBY2104 (ARRET) | None | None
XAPM1016 | → | XAPD1201 | Grey RAL 7035 lid and base | M20 output cable gland | ZB4BC4 | None | None | ZB4BZ103 | None | None | ZBY2104 (ARRET) | None | None
XAPM1021 | → | XAPD1202 | Grey RAL 7035 lid and base | M20 output cable gland | ZB4BA3 | ZB4BA4 | None | ZB4BZ101 | ZB4BZ102 | None | ZBY2103 (MARCHE) | ZBY2104 (ARRET) | None
XAPM1310H29 | → | XAPD1201 | Grey RAL 7035 lid and base |  | ZB4BA3 | None | None | ZB4BZ101 | None | None | ZBY2303 (START) | None | None
XAPM1316H29 | → | XAPD1201 | Grey RAL 7035 lid and base |  | ZB4BC4 | None | None | ZB4BZ102 | None | None | ZBY2304 (STOP) | None | None
XAPM1321H29 | → | XAPD1202 | Grey RAL 7035 lid and base |  | ZB4BA3 | ZB4BA4 | None | ZB4BZ101 | ZB4BZ102 | None | ZBY2303 (START) | ZBY2304 (STOP) | None
XAPM2021 | → | XAPD2202 | Grey RAL 7035 lid and base | M20 output cable gland, 50 mm between holes instead of 40 mm | ZB4BA3 | ZB4BA4 | None | ZB4BZ101 | ZB4BZ102 | None | ZBY2103 (MARCHE) | ZBY2104 (ARRET) | None
XAPM2031 | → | XAPD2203 | Grey RAL 7035 lid and base | M20 output cable gland | ZB4BA3 | ZB4BA4 | ZB4BA3 | ZB4BZ101 | ZB4BZ102 | ZB4BZ101 | ZBY2105 (AVANT) | ZBY2104 (ARRET) | ZBY2106 (ARRIERE)
XAPK178F93H29 | → | XAPK1201 | Yellow RAL 1004 base |  | ZB4BS844 | None | None | ZB4BZ104 | None | None | ZBY9320 (EMERGENCY STOP) | None | None
XAPK178G93H29 | → | XAPK1201 | Yellow RAL 1004 base |  | ZB4BS844 | None | None | ZB4BZ141 | None | None | ZBY9320 (EMERGENCY STOP) | None | None
XAPK188F93H29 | → | XAPK1201 | Yellow RAL 1004 base |  | ZB4BS944 | None | None | ZB4BZ104 | None | None | ZBY9320 (EMERGENCY STOP) | None | None
XAPK188G93H29 | → | XAPK1201 | Yellow RAL 1004 base |  | ZB4BS944 | None | None | ZB4BZ141 | None | None | ZBY9320 (EMERGENCY STOP) | None | None