Serial Modbus Logic Example SCADAPack x70

This is a basic example how to use the Serial Modbus Communication Blocks (MB_SERIAL_MASTER) in the RemoteConnect Logic Editor. To use this sample program, you will also need a Modbus slave device and a proper communication cable. Additional information about the specific function blocks and its operation can be found in the RemoteConnect Documentation.

The MB_SERIAL_MASTER function block mainly differs from using the RemoteConnect Modbus Scanner in that Modbus registers being polled are populated in logic first and can be mapped to a x70 object if needed.

In RemoteConnect there are only a few basic settings that need to be applied.

The project settings need to be configured so “Modbus Master” is enabled. See image below

The serial port settings for Port 1 should be like the below image. The Port Function needs to be set to Modbus, the baud rate and serial format could be changed depending on the slave device the user is communicating to.

The Modbus station address of the x70 serial port needs to be different than the slave device. In this example, the slave device is Modbus station address 2, so the default address of 1 on the Master x70 device can be left untouched.

Additional help can be found in the Logic Editor under a Section called “Read_Me” and the comments in the logic program.