Procedure to connect SoMove to an Altivar drive via EtherNet/IP 
Click on the “Edit Connection/Scan” button:
[image: image1.png]SoMove 2.5

i - Last connected Device Inf
%3 Create aProject OFF-line SRR ST T
2
& Open a Project
% Connect Fieldbus Type:
- Fieldbus Address: 192
DM version:
S 2 Load from Device
S Store to Device

Edit Connection / Scan

L\

Import / Export

Help





Select “Remote Gateway” button
[image: image2.png]Scan Result

ot Ser o1

Device Information:-

Device: ATvet
ATveL
e Device Typx G

Reference ATVE1KOTEM2




Select “Advanced Setting” button
[image: image3.png]Scan Result

tiocbeeSere tiosbeeTEF

Device Information:-

Device:

Device Ty




Enter the Ethernet IP card IP address:

[image: image4.png]Configuration | Runtime | Address Table | Scan

ConnectonType
| Remote gateway "~
1 ro R e
Link parameters
1] uto Acaptaton )
Pary St B1s Baud e
None @ 1Bt 19200 -
od 260
© Even
Gobal Vode
Timeout 3000 @ RTU (8 Bis)

- sz

< Disconnected | | i Date-set





Under the Scan tab, select Multipoint for the Scan Mode and Single for the Connection Type.  Enter the Modbus Network address set in the drive in the box. 
NOTE:  The default Modbus Network address in our drives is set to “OFF” or 0. You must set a Modbus Address in the drive and match it to the SoMove Address field. 

[image: image5.png]Advanced Settings




 

Select Apply and then OK
Next select Scan Network to find your drive and then connect.
