## Sheet1
Reference | Description | Quantity | DataSheet URL | Picture URL
LV848043 | Circuit breaker frame, MasterPact MTZ2 16H1, 1600A, 66kA/440VAC 50/60Hz (Icu), 3P, fixed, without control unit | 1 | https://www.se.com/at/de/product/LV848043 | https://gw-api-emea.schneider-electric.com/sc/v2.5/products/image/LV848043
LV847283 | Micrologic 5.0 X control unit, for Masterpact MTZ circuit breakers, fixed, LSI protections | 1 | https://www.se.com/at/de/product/LV847283 | https://gw-api-emea.schneider-electric.com/sc/v2.5/products/image/LV847283
LV848128 | Front top connection - for MTZ2 08-16 - 3P fixed | 1 | https://www.se.com/at/de/product/LV848128 | https://gw-api-emea.schneider-electric.com/sc/v2.5/products/image/LV848128
LV848130 | Front bottom connection - for MTZ2 08-16 - 3P fixed | 1 | https://www.se.com/at/de/product/LV848130 | https://gw-api-emea.schneider-electric.com/sc/v2.5/products/image/LV848130
LV833095 | Sensor plug 1600 A - for MTZ1/MTZ2 | 1 | https://www.se.com/at/de/product/LV833095 | https://gw-api-emea.schneider-electric.com/sc/v2.5/products/image/LV833095
LV847905 | MicroswitchesOF/SDE/PFandwiring-forMTZ2/MTZ3 | 1 | https://www.se.com/at/de/product/LV847905 | https://gw-api-emea.schneider-electric.com/sc/v2.5/products/image/LV847905