1.Need to navigate to communication menu which is a submenu to global settings.

2. Customer to adjust address, baud rate, parity, stop bits as per their requirement.

Relay password is “AAAA” if password prompt is coming during edit.

3. Wiring for communication:

4. Relay manual for Modbus address and more details can be accessed using below link:

https://www.se.com/in/en/download/document/P111Enh_EN_M/