## PME Services
PME Window Services Support Matrix 19328
There are no steps required before a reboot is conducted. Any processes stopped by a reboot will continue after the system has booted and services have been started. Required services are typically set to start automatically when Windows boots. In case there are issues that would cause the services to not start properly, the required services are:
Services | PME 9.0 | PME 8.2 | PME 8.1 | PME 8.0 | PME 7.2.x | SPM 7.0.x | IONE | Additional Info
ION Application Modules Alarm Services Host; ApplicationModules AlarmServicesHost | ü | ü | ü | ü
ION Application Modules Core Services Host; ApplicationModules CoreServicesHost; Schneider Electric Service Host (CoreServicesHost) | ü | ü | ü | ü | ü | ü
ION Application Modules Data Services Host; ApplicationModules DataServicesHost; Schneider Electric Service Host (DataServicesHost) | ü | ü | ü | ü | ü | ü
ION Application Modules Provider Engine Host; ApplicationModules ProviderEngineHost; Schneider Electric Service Host (ProviderEngineHost) | ü | ü | ü | ü | ü | ü
ION Alert Monitor | ü | ü
ION Cloud Agent Service | ü
ION Component Identifier Service | ü | ü
ION Connection Management Service | ü | ü |  |  |  |  | ü
ION Diagnostics and Usage Service | ü | ü
ION Event Watcher Service | ü | ü | ü | ü | ü | ü | ü
ION Log Inserter Service | ü | ü | ü | ü | ü | ü | ü
ION Log Subsystem Router Service | ü
ION Managed Circuit Service | ü | ü | ü | ü | ü
ION Network Router Service | ü | ü | ü | ü | ü | ü | ü
ION OPC Data Access Server | ü | ü | ü | ü | ü | ü | ü | If the DA server license has been activated
ION PQDIF Exporter Service | ü | ü | [5 empty] | Service needs to be turned on, then configured
ION Power Quality Aggregation Service |  |  |  |  | ü | ü | ü
ION Query Service | ü | ü | ü | ü | ü | ü | ü
ION Real Time Data Service | ü | ü | ü | ü | ü | ü | ü
ION Report Subscription Service | ü | ü | ü | ü | ü | ü | ü
ION Site Service | ü | ü | ü | ü | ü | ü | ü
ION Software Data Processing Service | ü
ION Software Alarm Service |  | ü | ü | ü
ION Software Modbus Gateway Service | ü | ü
ION Virtual Processor Service - NVIP.DEFAULT | ü | ü | ü | ü | ü | ü | ü
ION Virtual Processor Service - NVIP.PQADVISOR | ü | ü | ü |  |  |  |  | Functions only when the Power Quality Advisor Module is licensed and configured
ION XML Subscription Service | ü | ü | ü | ü | ü | ü | ü
ION XML Subscription Store Service | ü | ü | ü | ü | ü | ü | ü
ImadminSchneider | ü | ü | ü | ü |  |  |  | This service runs the FlexNet Publisher License Server Manager.
FlexNet Licensing Service |  | ü | ü | ü |  |  |  | This service performs licensing functions on behalf of FlexNet enabled products.
SQL Server (ION) | ü | ü | ü | ü | ü | ü | ü
SQL Server Reporting Services (ION) | [5 empty] | ü | ü
SQL Server Agent (ION) | ü |  | ü | ü | ü | ü |  | This service only exists on systems with SQL Server, not SQL Server Express
SQL Server Browser |  |  | ü | ü | ü | ü | ü
ü | Service required for PME | Service required for PME

## Revision History
Revision History
Version | Date | What
19328 | 2019-03-28 | Initial Release