Removal of an ISaGRAF Software License

- From the Start Menu, select the Licensing command from the ISaGRAF 3.5 program group. Then select the Remove License tab. The following dialog is displayed:

- Highlight the licensed component that is currently active - example - ISaGRAF 3 Software License (Active), or ISaGRAF 3 Software MT License (Active), and select the Add button. The selected text should move to the Selected Components column as shown below:

- Email (or if no internet is available, phone in)  your Setup Code along with User Codes 1 & 2 to OrdersTRSS@schneider-electric.com

- Customer Support will in turn provide a set of registration keys that will be used to un-install the I/O size currently enabled on the license.  Once provided, copy and paste the 4 keys into the applicable fields. Hit Register.

- A confirmation code will then be provided. Please note that this code will disappear once this screen is closed so make a note of it as soon as it is generated. This code is required prior to reissuing a license.

- Email (or if no internet is available, phone in) the confirmation code to: OrdersTRSS@schneider-electric.com    613-591-1943.