## ESME FW SOFT_HW Versions
ESME/SM Version | SMV4.0 | SMV4.1 | SMV4.1SP1 | SMV4.1 SP2 | SMV4.2 | SMV4.3 | ESME V1.1 | ESME V1.1 SP1 | ESME V1.2 | V1.2.1 | V1.2.2 | V1.2.3 | V1.2.4 | V1.2.5 | V1.2.6 | V1.2.7 | V1.2.8 | V1.2.9 | V1.2.10 | V1.2.x | V2.0.0.0 | V2.0.0.1 | V2.0.1.0 | V2.0.2.0 | V2.0.2.1 | V2.0.3.0 | 2.0.3.1 | ESME V2.1 | ESME V2.1.1 | ESME V2.1.2
Hardware Firmware | [20 empty] | 2021-04-01 | 2021-07-01 | 2021-11-01 | 2022-01-01 | 2022-02-01 | 2022-06-01 | 2022-08-01 | 2022-12-12 | 2023-06-01 | 2023-09-01
M241 | V4.0.1.34 | V4.0.2.11 | V4.0.2.42 | V4.0.3.18 | V4.0.5.11 | V4.0.6.x | 5.0.7.20 | 5.0.7.23 | 5.0.8.4 | [9 empty] | 5.0.8.4 | 5.0.8.7 | 5.1.9.14 |  | 5.1.9.21 | 5.1.9.34 | 5.1.9.35 | 5.1.9.44 |  | 5.1.10.10 |  | Solo LMCPro
M251 |  | V4.0.2.11 | V4.0.2.42 | V4.0.4.15 | V4.0.5.11 | V4.0.6.x | 5.0.7.20 | 5.0.7.23 | 5.0.8.4 | [9 empty] | 5.0.8.4 | 5.0.8.7 | 5.1.9.14 |  | 5.1.9.21 | 5.1.9.34 | 5.1.9.35 | 5.1.9.44 |  | 5.1.10.10
M262 | [6 empty] | 5.0.2.1 | 5.0.3.2 | 5.0.4.7 |  |  | 5.0.4.75 | 5.0.4.81 |  | 5.0.4.83 | [5 empty] | 5.1.5.30 | 5.1.5.33 | 5.1.5.35 | 5.1.6.1 | 5.1.6.3 / 5.1.7.1 | 5.1.7.10 | 5.1.7.11 | 5.1.7.23 | 5.1.7.27
M258 | [13 empty] | 5.0.4.11 |  |  |  |  | 5.0.4.18
M218 | [6 empty] | 5.0.0.3
TM3 IO | [20 empty] | 2023-06-01: 2
TM3BCEIP | [20 empty] | 2022-12-12: 2.4.0.3; 2023-06-01: 2.4.0.3
Software Version
Machine Expert Installer | [6 empty] | 11.19.16801 |  | 12.20.01401 |  | 12.20.08301 | [9 empty] | 2021-04-01: 20.21.09802; 2022-12-12: 21.22.33302; 2023-09-01: V21.22.33302
Diagnostics | [5 empty] | 16.1.10.0 | 18.0.10.0 |  | 19.0.11.0 | [11 empty] | 2021-04-01: 20.0.21.0; 2022-01-01: 20.2.6.0; 2022-02-01: 20.2.7.0; 2022-06-01: 20.3.3.0; 2022-12-12: 21.0.18.0
Controller Assistant | [5 empty] | 16.1.10.0 | 18.0.10.0 |  | 19.0.11.0 |  |  |  |  | 19.2.3.0 | [6 empty] | 2021-04-01: 20.0.21.0; 2022-01-01: 20.2.6.0; 2022-02-01: 20.2.7.0; 2022-06-01: 20.3.1.0; 2022-12-12: 21.0.18.0
DiffViewer | [20 empty] | 20.0.21.0 |  |  | 20.2.7.0 | 20.2.8.0 | 20.3.3.0 | 20.3.3.0 | 21.0.22.0
Device Assistant | [6 empty] | 18.0.10.0 |  | 19.0.11.0 | [11 empty] | 2021-04-01: 20.0.21.0; 2022-01-01: 20.2.7.0; 2022-06-01: 20.3.0.0; 2022-12-12: 21.0.14.0
SESU | [5 empty] | 2.1.0.59
Gateway | [5 empty] | 16.1.0.0 | 18.0.10.0 |  | 19.0.11.0 | [11 empty] | 2021-04-01: 20.0.21.0; 2022-01-01: 20.2.6.0
License Manager | [5 empty] | 1.9.9.0
OPCServer | [5 empty] | 16.1.0.0 | 3.5.12.70 |  | 3.5.12.83 | [11 empty] | 2021-04-01: 3.5.16.30; 2022-01-01: 3.5.16.60; 2022-12-12: 3.5.16.60
Compilador Codesys | 3.5.3.60 | 3.5.3.82 | 3.5.3.83 | 3.5.3.86 | 3.5.3.86 | 3.5.3.87 | 3.5.12.80 | 3.5.12.82 | 3.5.12.82 | [9 empty] | 3.5.12.82 |  | 3.5.16.84 | 3.5.16.84 | 3.5.16.60 | 3.5.16.70 | 3.5.16.70 | 3.5.16.80
SVN | [6 empty] | 4.2.4.0 |  | 4.2.5.0 | [11 empty] | 2021-04-01: 4.2.7.0; 2022-12-12: 4.2.7.0
Logic Builder.exe | [6 empty] | 1.1 | 1.1 | 1.2 | [9 empty] | 19.0.11.0 |  | 2021-04-01: 2.0.0.0; 2022-08-01: 2.0.3.3; 2022-12-12: 2.1.0.0
Vijeo-Designer | 6.1 SP4 | 6.2.0 SP2(3-4) |  |  | 6.2.0 SP4.1 |  | 6.2.8.1016 | 6.2.8.4008 | 6.2.9.1008 | [11 empty] | 2021-04-01: 6.2.11.1012; 2022-06-01: 6.2.12.1002; 2022-12-12: 6.2.12.2054
CoDeSys | 3.5.3.60 | 3.5.3 P8HF3 | 3.5.3.83/84/85 | 3.5.3.86 | 3.5.3.86 | 3.5 SP3 8 5 | V3.5 SP12 Patch8 HF1 | V3.5 SP12 Patch8 HF2 | V3.5 SP12 Patch8 HF3 | [8 empty] | V3.5 SP12 Patch 8 HF 6 |  |  | 2021-04-01: V3.5 SP16 Patch4 HF2; 2022-12-12: V3.5 SP16 Patch9 HF1
Pantalla Asignada | V4.0.0.0 | V4.1.0.0 | V4.1.0.1 | V4.1.0.4 | V4.1.0.4 | V4.1.0.5
SQL Gateway | [6 empty] | 18.0.1.0 |  | 1.2.0.0 |  |  | 1.2.3.0 | [8 empty] | 2021-04-01: 2.0.0.0; 2022-12-12: 2.1.0.0
Motion Sizer | [6 empty] | 4.1.0.0 |  | 4.2.0.0 | [11 empty] | 2021-04-01: 4.2.0.0; 2021-11-01: 4.3.1.0; 2022-12-12: 4.3.1.0; 2023-06-01: 4.3.1.0
NetManage Server | [5 empty] | 16.1.10.0 | [14 empty] | 2022-02-01: 20.2.7.0; 2022-06-01: 20.3.0.0; 2022-12-12: 21.0.11.0
EcoStruxure Machine Expert Twin | [20 empty] | 2022-06-01: 1.1.0.19321; 2022-12-12: 1.2.0.0
Note on K2: Laureano Zantedeschi: TM3BCCO 1.0.16.1
Note on L2: Laureano Zantedeschi: TM5NS31 2.75
Note on H3: Laureano Zantedeschi:  Support of CoDeSys V3.5 SP12  Default login/password changed when user rights are not activated.  User right management adapted to CoDeSys V3.5 SP12  Support of TM3BCEIP TM3 EtherNet/IP bus coupler for distributed I/O architectures  Behavior of outputs in STOP mode: default value applies after application download, controller power cycle, reset cold/warm  Behavior of outputs during the transitions from RUN to STOP, and from RUN to EXCEPTION also sets default output values  Support of TM3DI16/G and TM3DI16K renewal modules (latch and filter functions are only configurable with modules of software version 2 or greater).  Support of FC_GetFreeDiskSpace, FC_GetLabel, FC_GetTotalDiskSpace  Extended Motion Function Blocks to allow the configuration of 4 JerkRatio parameter settings.
Note on J3: Laureano Zantedeschi: Support for the new TM3 high-speed counter modules:  TM3XHSC202  TM3XHSC202G
Note on T3: Laureano Zantedeschi: Support for the new TM3 high-speed counter modules:  TM3XHSC202  TM3XHSC202G
Note on U3: Laureano Zantedeschi: DRR Timing fixed in 5,0,8,4 Only in Production april 2022 . Never in ESME
Note on Y3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CVE-2020-28895 Specific cybersecurity vulnerabilities are mitigated. CVE-2020-35198 Specific cybersecurity vulnerabilities are mitigated. CVE-2021-29241 Specific cybersecurity vulnerabilities are mitigated. CVE-2021-33485 Specific cybersecurity vulnerabilities are mitigated
Note on Z3: Laureano Zantedeschi: -Siemens Tecnomatix could not access the controllers via OPC LIA. -Specific cybersecunty vulnerabilities are mitigated_ -Afer building an M251 project, the error message Failed to insen library EtherNetlP Explicit -Messaging was displayed even though no error was detectecL The firmware update of M241 was unsuccessful with and the LED Error was flashfig.
Note on AA3: Laureano Zantedeschi: The error message Map to existing variable with address not allowed was not displayed. Login was not possible after performing several OPC UA connections / disconnections and Reset Origin Device. On TM251MESC controllers, the FTP encryption remained active even after a restart with post configuration in disable state. SetNodeName could not be added on Clone script.
Note on AC3: Laureano Zantedeschi: Support of the fast TCP connection mode
Note on AD3: Laureano Zantedeschi: Support of the fast TCP connection mode
Note on U4: Laureano Zantedeschi: DRR Timing fixed in 5,0,8,4 Only in Production april 2022 . Never in ESME
Note on H5: Laureano Zantedeschi: Modicon M262 Logic/Motion Controller offer is made for performance - demanding machines.  M262 controllers are ready for IIoT, (MQTT, AMQP, OPC UA, TLS,…) and combine logic, motion and safety-related control applications:  TM262L: for the logic control of multiple input and output configurations  TM262M: for the motion control of up to 16 synchronized axes In combination with a TM5CSLC•00FS for safety-related control applications up to SIL3.  Modicon M262 Logic/Motion Controller embed 4 fast digital inputs and 4 fast digital outputs, connected to the controller with the use of screw terminals on the front face of controllers.  Modicon M262 Logic/Motion Controllers (TM262M•••) embed an encoder input (SSI or incremental).  Modicon M262 Logic/Motion Controllers can be combined with Modicon TM3, Modicon TM5, and Modicon TM7 offers using Sercos III, EtherNet/IP and CANopen bus couplers.  Modicon M262 Logic/Motion Controllers have a Dual Core processor: Core 1: is dedicated exclusively to managing program tasks and offers the maximum resources for real-time execution of the application code.  Core 2: is dedicated to executing communication tasks, which then have no further impact on the application execution performance.  Performance:  256 MByte RAM memory  128 MByte Flash memory  3-5 ns/ instruction  A slot for an industrial memory card is available on the front face of the controllers:  SD-card up to 2 GB, or  SDHC-card up to 32 GB  A QR-code, printed on the front face of the controllers and Smart Communication modules, provides a link to the Schneider Electric maintenance page of the product.  A TMS bus port allows the connection of Smart Communication modules, assembled by simple interlocking on the left-hand side of the controllers.  A TM3 bus port allows the connection of TM3 expansion modules, assembled by simple interlocking on the right-hand side of the controllers.
Note on J5: Laureano Zantedeschi:  Encoder enhancements:  New object for LXM32S onboard PTI (Pulse Train In) encoder to be used as feedback axis with motion function blocks.  New object for LXM32S encoder option module (analog and digital) to be used as feedback axis with motion function blocks.  Filter parameter available for the encoder objects.  DeadTimeCompensation parameter available for the encoder objects.  New object for direct support of ATV340S. -The capability to manage three TMSES4 modules on the left bus is embedded in version 5.0.4.7
Note on Z5: Laureano Zantedeschi: 5.1.6.3: TM262•••, except TM262L01MESE8T • 5.1.7.1: TM262L01MESE8T (not available in the Controller Assistant, only available on the product) -Specific cybersecurity vulnerabilities are mitigated -Siemens Tecnomatix could not access the controllers via OPC LIA. -Specific cybersecurity vulnerabilities are mitigated -Specific cybersecunty vulnerabilities are mitigated
Note on AA5: Laureano Zantedeschi: New Controller The new controller reference TM262L01MESE8T added. EcoStruxure Cybersecurity Admin Expert The multicore operator TEST SET causes an exception_ Workaround: Remove the call for the operator TEST SET from the IEC program_ Controller user right files exported before the V2_O official version are not compatible with the latest implementation_ Workaround: When updating a device from V2_0 to the latest version, retrieve the old controller image containing user rights and update the firmware by using this image_ The JOS GETDIAGSTATUS function is not updating values after repet ifno communication is established with a device. An SCEP (Simple Certificate Enrollment Protocol) page performance issue occurs if a response is not received_ A valid Certificate Revocation List (CRL) is required when signed certificates are used for OPC UA communicatiom The IGMP (Intemet Group Management Protocol) is not operating on the interfaces ETH2 and TMSES4. Protocols using multicast such as EcoStruxure Cybersecurity Admin Expert discovery or EtherNet/lP T->O connections may have unintended behavior if the Modicon M262 controller is connected through a smart switch with IGMP snooping enabled_ Workaround: Three altematives are available: Disable IGMP snooping on the switch. For EcoStruxure Cybersecurity Admin Expert: Declare the IP address of the Modicon M262 controller explicitly in the EcoStruxure Cybersecurity Admin Expert system editor using port 5357. For EtherNet/lP: Change the T->O Connection Type value from Multicast to Point to Point. A firewall may not apply one command from the file afier a download via EcoStruxure Cybersecurity Admin Expert Workaround: Restart the controller for the firewall to be fully applied. If the FB ControlClone is used without clone access rights, it Will be required for future clone actions_
Note on AB5: Laureano Zantedeschi: The Ethernet interface was not responding if no valid IP configuration was provided
Note on AC5: Laureano Zantedeschi: OPC UA Method Call FB_Drive_PosControl Diagnostics and Admin FB-PLCOpen
Note on AD5: Laureano Zantedeschi: OPC UA Method Call FB_Drive_PosControl Diagnostics and Admin FB-PLCOpen
Note on H7: Laureano Zantedeschi: - Support of TM3 modules: -TM3 DI/DO modules (includes TM3RDM16/32R) and AI/AO modules will be supported through the adaptor module (TM2DOCKN). - SL1 & SL2 Modbus polarization default setting - The polarization setting of SL1/ SL2 Modbus communication is by default enable when the port addressing is selected as Master.
Note on AD9: Laureano Zantedeschi: -EtherNet/IP device disconnection due to firmware task priority inversion is fixed: ATV340 and TM3BC
Note on L10: Laureano Zantedeschi: Machine Expert Installer 12.20.08301
Note on H11: Laureano Zantedeschi: The Machine Expert Installer provides an intuitive user interface to perform an online installation. During installation phase, you can select required sets which will be automatically downloaded and installed. You can also use the Machine Expert Installer to customize an existing installation of the EcoStruxure Machine Expert product.
Note on J11: Laureano Zantedeschi:  Reduced Machine Expert Installer size.  Faster installation.  New improved user interface.  Online help can be downloaded during standard installation.  Select installation path.  Improved offline medium.
Note on H12: Laureano Zantedeschi:  Diagnostics supports the Safe Logger for safety-related devices.  Support for Lexium 62 Standard Plus and Advanced Plus
Note on H13: Laureano Zantedeschi: Support for Lexium 62 Standard Plus and Advanced Plus.
Note on H15: Laureano Zantedeschi: Support for Lexium 62 Standard Plus and Advanced Plus.
Note on V24: Laureano Zantedeschi: EcoStruxure Machine Expert V2.0 uses CoDeSys service pack 16: compiler version 3.5.16.84
Note on A25: Laureano Zantedeschi: Versiones del compilador SoMachine/CoDeSys La versión de la pantalla asignada se utiliza, por ejemplo, en el cuadro de diálogo Configuración del proyecto → Opciones de compilador y en el cuadro de diálogo Actualización del proyecto
Note on A30: Laureano Zantedeschi: Donde encontrar los FW para el Controller Assistant: C:\ProgramData\SoMachine Software\FirmwareRepository\Controls C:\ProgramData\EcoStruxure Machine Expert\FirmwareRepository\Controls