## Sheet1
|  | 30 degrees C | 30 degrees C | 60 degrees C | 60 degrees C | 85 degrees C | 85 degrees C
|  | continuous operation | Intermittent operation | continuous operation | Intermittent operation | continuous operation | Intermittent operation
BMXFCA502 | TEMPERATURE 5M CONNECTING CABLE | 151354623 | 72427029 | 94277364 | 44628910 | 66635570 | 31638561
BMXFCC051 | FCN TO 1 HE 0M5 CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC053 | FCN TO 2 HE 0M5 CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC1001 | FCN TO 1 HE 10M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC1003 | FCN TO 2 HE 10M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC101 | FCN TO 1 HE 1M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC103 | FCN TO 2 HE 1M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC201 | FCN TO 1 HE 2M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC203 | FCN TO 2 HE 2M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC301 | FCN TO 1 HE 3M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC303 | FCN TO 2 HE 3M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC501 | FCN TO 1 HE 5M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCC503 | FCN TO 2 HE 5M CONNECTING CABLE | 75711689 | 36221385 | 47152018 | 22317443 | 33324446 | 15820782
BMXFCW1001 | FCN 20 WIRE 10M CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW1003 | FCN 2 X 20 WIRE 10M CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW301 | FCN 20 WIRE 3M CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW301S | FCN 20 WIRE 3M SHIELDED CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW303 | FCN 2 X 20 WIRE 3M CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW501 | FCN 20 WIRE 5M CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW501S | FCN 20 WIRE 5M SHIELDED CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFCW503 | FCN 2 X 20 WIRE 5M CABLE | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666 | 166666666666
BMXFTA150 | 1.5m cord Ana 28-way | 121153380 | 57957575 | 75448921 | 35709184 | 53321957 | 25313892
BMXFTA152 | 1.5m cord Ana 20-way | 121182743 | 57964293 | 75460307 | 35711734 | 53327645 | 25315173
BMXFTA1522 | 1.5M Cord Ana HART 20-Way | 144258511 | 69003588 | 89831117 | 42513391 | 63484002 | 30136821
BMXFTA300 | 3m cord Ana 28-wayay | 121153380 | 57957575 | 75448921 | 35709184 | 53321957 | 25313892
BMXFTA302 | 3m cord Ana 20-way | 121182743 | 57964293 | 75460307 | 35711734 | 53327645 | 25315173
BMXFTA3022 | 3M Cord Ana HART 20-Way | 144258511 | 69003588 | 89831117 | 42513391 | 63484002 | 30136821
BMXFTB2000 | CAGE TERMINAL STRIP 20 STD. P | 0 | 0 | 0 | 0 | 0 | 0
BMXFTB2010 | SCREW TERMINAL STRIP 20 CIR. POINTS | 0 | 0 | 0 | 0 | 0 | 0
BMXFTB2020 | SPRING TERMINAL STRIP 20 POINTS | 0 | 0 | 0 | 0 | 0 | 0
BMXFTB2800 | CAGE TERMINAL STRIP 28 STD. P | 0 | 0 | 0 | 0 | 0 | 0
BMXFTB2820 | SPRING TERMINAL STRIP 28 POINTS | 500000000000 | 500000000000 | 500000000000 | 500000000000 | 500000000000 | 500000000000
BMXFTW1001 | FTB 20 WIRE 10M CABLE | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000
BMXFTW301 | FTB 20 WIRE 3M CABLE | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000
BMXFTW301S | FTB 20 WIRE 3M SHIELDED CABLE | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000
BMXFTW308S | 28-wire preformed shielded FTB cable 3m | 333333333333 | 333333333333 | 333333333333 | 333333333333 | 333333333333 | 333333333333
BMXFTW501 | FTB 20 WIRE 5M CABLE | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000
BMXFTW501S | FTB 20 WIRE 5M SHIELDED CABLE | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000
BMXFTW508S | 28-wire preformed shielded FTB cable 5m | 333333333333 | 333333333333 | 333333333333 | 333333333333 | 333333333333 | 333333333333