## UPS-Link-AP9610orAP9613
UPS Link States or Abnormal Conditions
States | Abnormal Conditions
REPLACE_BATTERY | Power Module Failure
OVERLOAD | Main Intelligence Module Failure
BATTERIES_DISCHARGED | Redundant Intelligence Module Failure
BYPASS_INTERNAL_FAULT | Battery Failure
BYPASS_SUPPLY_FAILURE | Load(kVA) Alarm Threshold Violation
BYPASS_FAN_FAILURE | Redundancy Lost
BATTERY_COMM_LOST | Redundancy Below Alarm Threshold
SMARTBOOST_SMARTTRIM_FAULT | Bypass not in Range; Either Frequency or Voltage
BAD_OUTPUT_VOLTAGE | Bypass Contactor Stuck in Bypass Condition
BATTERY_CHARGER_FAILURE | Bypass Contactor Stuck in On-Line Condition
HIGH_BATTERY_TEMPERATURE | In Bypass due to an Internal Fault
CRITICAL_BATTERY_TEMPERATURE | In Bypass due to an Overload
INVERTER_DC_IMBALANCE | In Maintenance Bypass
TRANSFER_RELAY_FAILURE | Input Circuit Braker Tripped Open
SHUTDOWN_UNABLE_TRANSFER | System Level Fan Failure
ELECTRONIC_UNIT_FAN_FAILURE | Redundant Intelligent Module in Control
MAIN_RELAY_FAILURE | IIC Inter-Module Communication Failure
BYPASS_RELAY_FAILURE | No Working Power Modules
HIGH_INTERNAL_TEMPERATURE | Load Shutdown From Bypass; Input Frequency
BATTERY_TEMPERATURE_SENSOR_FAULT | Runtime Below Alarm Threshold
INPUT_OUT_OF_RANGE_FOR_BYPASS | Extended Run Frame Fault
DC_BUS_OVERVOLTAGE | Output Voltage out of Range
CRITICAL_HARDWARE_FAULT | UPS Not Synchronized
DIAGNOSTIC_FAILED | No Batteries Installed
Battery Voltage High
UPS Specific Fault Detected
Site Wiring Fault
Backfeed Protection Relay Opened
External Switch Gear Failure
External Transformer Over Temperature
External DC Circuit Breaker Tripped
System Power Supply Failure
Battery Monitor Card Failure
Battery Monitor Card Removed
XR Communication Card Failure
XR Communication Card Removed
External Switch Gear Monitoring Card Failure
External Switch Gear Monitoring Card Removed
Internal DC Circuit Breaker Tripped
Static Bypass Switch Failure
System EEPROM Removed
System EEPROM Failure
UPS in Forced Bypass
Static Bypass Switch Module Removed
System Start-Up Configuration Fault
Battery Charger Shutdown Externally

## Micro-Link-AP9613 Only
Micro-link States or Faults (AP9613 only)
INPUT_SMARTBOOST
INPUT_SMARTTRIM
BYPASS_OUTOFRANGE
BATTERY_DISCONNECTED
BATTERY_OVERVOLTAGE
BATTERY_NEEDSREPLACEMENT
BATTERY_OVERTEMPERATURE
BATTERY_CHARGER
BATTERY_TEMPERATURESENSOR
BATTERY_BUSSOFTSTART
BATTERY_DISCHARGE
POWERSYSTEM_OUTPUTOVERLOAD
POWERSYSTEM_OUTPUTSHORTCIRCUIT
POWERSYSTEM_OUTPUTOVERVOLTAGE
POWERSYSTEM_TRANSFORMERDCIMBALANCE
POWERSYSTEM_OVERTEMPERATURE
POWERSYSTEM_BACKFEEDRELAY
POWERSYSTEM_AVRRELAY
POWERSYSTEM_PFCINPUTRELAY
POWERSYSTEM_OUTPUTRELAY
POWERSYSTEM_BYPASSRELAY
POWERSYSTEM_FAN
POWERSYSTEM_PFC
POWERSYSTEM_DCBUSOVERVOLTAGE
POWERSYSTEM_INVERTER
GENERAL_SITEWIRING
GENERAL_EEPROM
GENERAL_ADCONVERTER
GENERAL_LOGICPOWERSUPPLY
GENERAL_INTERNALCOMM