## SELECTION TABLE SOL8
VERROUILLAGES COMPLETS ( SERRURES + ACCESSOIRES)
CELLULE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE | [12 empty] | RONIS | PROFALUX
A1 |  |  | X |  | X | X | [6 empty] | 9015287A2 | 9015287A1
C1 |  |  | X |  | X | X | [6 empty] | 9015287C2 | 9015287C1
C4-C4D-C4C |  |  | X |  | X | X | [6 empty] | 9015287D2 | 9015287D1
A3-A4 | X | X | [6 empty] | X |  |  |  | 9015287B2 | 9015287B1
A3 SM6/VM6 | X | X | [6 empty] | X |  |  |  | 9015329C2 | 9015329C1
50 |  |  | X | X | X | X | [6 empty] | 9015287J2 | 9015287J1
52 | [6 empty] | X | X |  |  |  |  | 9015287K2 | 9015287K1
P1 | X | X | [6 empty] | X |  |  |  | 9015287E2 | 9015287E1
P1 SM6/V700 | X | X | [6 empty] | X |  |  |  | 9015329A2 | 9015329A1
P1 SM6/VM6 | X | X | [6 empty] | X |  |  |  | 9015329B2 | 9015329B1
P1 SM6/V500 | X | X | [6 empty] | X |  |  |  |  | 9015329D1
P2 | X | X | [6 empty] | X |  |  |  | 9015287F2 | 9015287F1
P3 | X | X | [6 empty] | X |  |  |  | 9015287G2
P5 | X | X | [7 empty] | X |  |  | 9015287H2 | 9015287H1
1 Serrure appareil/SMALT verrouillé ouvert | X | X |  |  | X | X | X | X | X | X | X | X | 9015287L2 | 9015287L1
2 serrures appareil/SMALT verrouillé ouvert | X | X |  |  | X | X | X | X | X | X | X | X | 9015287M2 | 9015287M1
VERR. S FERME | [6 empty] | X | X |  |  | X | X | 9015287N2 | 9015287N1
1 Serrure SMALT verrouillé fermé | X | X |  |  | X | X |  | X | X | X | X |  | 9015287P2 | 9015287P1
1 Serrure panneau avant | X | X | X | X | X | X | X | X | X | X | X | X | 9015287Q2 | 9015287Q1
2 Serrures SMALT verrouillé fermé | X | X |  |  | X | X |  | X | X | X | X |  | 9015287R2 | 9015287R1
SERRURES SEULES
CELLULE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE | [12 empty] | RONIS | PROFALUX | NOGAPI PS | NOGAPI RP
KIT SERRURE (CRM CHASSIS) | [7 empty] | X |  |  |  |  | AAV86887 | AAV86892
KIT SERRURE | X |  | X |  | X | X |  |  | X |  |  |  | SPK0020SM6 | 3731439
KIT SERRURE | X | X |  |  | X | X | X |  | X |  | X |  | 3731940 | 3731939
KIT SERRURE | X |  |  |  | X | X |  |  | X |  | X |  | 3731640 | 3731440
KIT SERRURE RONIS |  |  | X | X | [8 empty] | 3731641
KIT SERRURE PROFALUX |  |  | X | X | [9 empty] | BBV23780
KITS SERRURES NOGAPI PS |  |  | X | X | [10 empty] | 3731441
KITS SERRURES NOGAPI PS | [10 empty] | X |  |  |  | 3731442
KITS SERRURES NOGAPI PS | X | X |  |  | X | X | X |  | X | X | X | X |  |  | 3731443
KITS SERRURES NOGAPI PS | [7 empty] | X | [6 empty] | 3731444
KITS SERRURES NOGAPI RP | [10 empty] | X |  |  |  |  | 3731642
KITS SERRURES SEULES NOGAPI RPRP | X | X |  |  | X | X | X |  | X | X | X | X |  |  |  | 3731643
KITS SERRURES NOGAPI RP | [7 empty] | X | [7 empty] | 3731644
SERRURES NOGAPI RP ET ANCIENNE RONIS MT BT |  |  | X |  | X | X | [9 empty] | BBV23781
ACCESSOIRES
CELLULE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE
BOUTON CADENASSABLE | X | X |  |  | X | X |  |  | X |  |  |  | 51070334A1
ECROU SERRAGE SERRURE | X | X | X | X | X | X | X | X | X | X | X | X | 1784702
ACCESSOIRES VERROUILLAGE INTER 1 OUV + 1 FERM (SANS SERRURES) | X | X |  |  | X | X |  |  | X |  |  |  | 9015287S1
ACCESSOIRES VERROUILLAGE SMALT 1 OUVERT + 1 FERME (SANS SERRURES) | X | X | X |  | X | X |  | X | X | X | X |  | 9015287T1
SECTION A
KIT SERRURE PROFALUX #### BBV23780 | X |  |  |  | X |  |  |  | X |  |  |  | 3731438
KIT SERRURE RONIS #### SPK0020SM6 | X |  |  |  | X |  |  |  | X |  |  |  | 3731639
SERRURE RONIS #### AAV86887 (CRM CHASSIS) | [7 empty] | X |  |  |  |  | 51300423FA
SERRURE PROFALUX #### AAV86892 CRM CHASSIS | [7 empty] | X |  |  |  |  | 51300423FB

## REFERENCES EN
KIT ( LOCKS + ACCESSORIES)
CUBICLE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE | [12 empty] | Flat keys (RONIS) | Tubular keys (PROFALUX)
A1 |  |  | X |  | X | X | [6 empty] | 9015287A2* | 9015287A1*
C1 |  |  | X |  | X | X | [6 empty] | 9015287C2* | 9015287C1*
C4-C4D-C4C |  |  | X |  | X | X | [6 empty] | 9015287D2* | 9015287D1*
A3-A4 | X | X | [6 empty] | X |  |  |  | 9015287B2 | 9015287B1
A3 SM6/VM6 | X | X | [6 empty] | X |  |  |  | 9015329C2 | 9015329C1
50 |  |  | X | X | X | X | [6 empty] | 9015287J2 | 9015287J1
52 | [6 empty] | X | X |  |  |  |  | 9015287K2 | 9015287K1
P1 | X | X | [6 empty] | X |  |  |  | 9015287E2 | 9015287E1
P1 SM6/V700 | X | X | [6 empty] | X |  |  |  | 9015329A2 | 9015329A1
P1 SM6/VM6 | X | X | [6 empty] | X |  |  |  | 9015329B2 | 9015329B1
P1 SM6/V500 | X | X | [6 empty] | X |  |  |  |  | 9015329D1
P2 | X | X | [6 empty] | X |  |  |  | 9015287F2 | 9015287F1
P3 | X | X | [6 empty] | X |  |  |  | 9015287G2
P5 | X | X | [7 empty] | X |  |  | 9015287H2 | 9015287H1
OPEN SWITCH/DIS/EARTHING SWITCH LOCKING | X | X |  |  | X | X | X | X | X | X | X | X | 9015287L2* | 9015287L1*
2 OPEN SWITCH/DIS/EARTHING SWITCH LOCKING | X | X |  |  | X | X | X | X | X | X | X | X | 9015287M2* | 9015287M1*
CLOSED DISCONNECTOR LOCKING | [6 empty] | X | X |  |  | X | X | 9015287N2 | 9015287N1
CLOSED EARTHING SWITCH LOCKING | X | X |  |  | X | X |  | X | X | X | X |  | 9015287P2* | 9015287P1*
FRONT PANEL LOCKING | X | X | X | X | X | X | X | X | X | X | X | X | 9015287Q2* | 9015287Q1*
2 CLOSED EARTHING SWITCH LOCKING | X | X |  |  | X | X |  | X | X | X | X |  | 9015287R2* | 9015287R1*
*EXCEPT COMPACT NS
LOCKS
CUBICLE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE | [12 empty] | Flat keys (RONIS) | Tubular keys (PROFALUX) | Tubular keys (NOGAPI PS) | Flat keys (NOGAPI RP)
LOCK KIT | [7 empty] | X |  |  |  |  | AAV86887 | AAV86892
LOCK KIT DOOR STRIKER | X |  | X |  | X | X |  |  | X |  |  |  | SPK0020SM6 | 3731439
LOCK KIT (2 CYLINDERS, 1 KEY, 1 SPACER) | X | X |  |  | X | X | X |  | X |  | X |  | 3731940* | 3731939*
LOCK KIT (2 CYLINDERS, 1 KEY, 2 SPACERS) | X |  |  |  | X | X |  |  | X |  | X |  | 3731640 | 3731440
LOCK KIT 1 DOOR STRIKER + 2 LOCK |  |  | X | X | [8 empty] | 3731641
LOCK KIT (2 CYLINDERS, 1 KEY, 1 SPACER) |  |  | X | X | [9 empty] | BBV23780
LOCK KIT (2 CYLINDERS) |  |  | X | X | [10 empty] | 3731441
LOCK KIT + STATION OF LOCKS | [10 empty] | X |  |  |  | 3731442 | 3731642
LOCK KIT (1 CYLINDER) | X | X |  |  | X | X | X |  | X | X | X | X |  |  | 3731443* | 3731643*
LOCK KIT (2 CYLINDERS) | [7 empty] | X | [6 empty] | 3731444 | 3731644
LOCKS KIT NOGAPI + RONIS |  |  | X |  | X | X | [9 empty] | BBV23781*
*EXCEPT COMPACT NS
ACCESSORIES
CUBICLE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE
LOCKING BUTTON | X | X |  |  | X | X |  |  | X |  |  |  | 51070334A1
LOCK TIGHTENING NUT | X | X | X | X | X | X | X | X | X | X | X | X | 1784702
SWITCH LOCKING ACCESSORIES 1 OPEN + 1 CLOSED (NO LOCK) | X | X |  |  | X | X |  |  | X |  |  |  | 9015287S1
EARTHING SWITCH ACCESSORIES 1 OPEN + 1 CLOSED (NO LOCK) | X | X | X |  | X | X |  | X | X | X | X |  | 9015287T1
CAP | X | X | X | X | X | X | X | X | X | X | X |  | SPK0021SM6
ACCESSORIES LOCK TYPE C1 |  |  | X |  | X | X | [6 empty] | 3730349A
ACCESSORIES LOCK TYPE C4-C4D-C4C |  |  | X |  | X | X | [6 empty] | 3730350B
ACCESSORIES LOCK TYPE A3-A4 | X | X | [6 empty] | X |  |  |  | 3730351B
ACCESSORIES LOCK TYPE P1 | X | X | [6 empty] | X |  |  |  | 3730352B
ACCESSORIES LOCK TYPE P2 | X | X | [6 empty] | X |  |  |  | 3730353B
ACCESSORIES LOCK TYPE P3 | X | X | [6 empty] | X |  |  |  | 3730354C
ACCESSORIES LOCK TYPE P5 | X | X | [7 empty] | X |  |  | 3730355B
ACCESSORIES LOCK TYPE 50 |  |  | X | X | X | X | [6 empty] | 3730356A
ACCESSORIES LOCK TYPE 52 | [6 empty] | X | X |  |  |  |  | 3730357A

## REFERENCES FR
KIT ( SERRURES + ACCESSOIRES)
CELLULE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE | [12 empty] | Clés plates (RONIS) | Clés tubulaires (PROFALUX)
A1 |  |  | X |  | X | X | [6 empty] | 9015287A2* | 9015287A1*
C1 |  |  | X |  | X | X | [6 empty] | 9015287C2* | 9015287C1*
C4-C4D-C4C |  |  | X |  | X | X | [6 empty] | 9015287D2* | 9015287D1*
A3-A4 | X | X | [6 empty] | X |  |  |  | 9015287B2 | 9015287B1
A3 SM6/VM6 | X | X | [6 empty] | X |  |  |  | 9015329C2 | 9015329C1
50 |  |  | X | X | X | X | [6 empty] | 9015287J2 | 9015287J1
52 | [6 empty] | X | X |  |  |  |  | 9015287K2 | 9015287K1
P1 | X | X | [6 empty] | X |  |  |  | 9015287E2 | 9015287E1
P1 SM6/V700 | X | X | [6 empty] | X |  |  |  | 9015329A2 | 9015329A1
P1 SM6/VM6 | X | X | [6 empty] | X |  |  |  | 9015329B2 | 9015329B1
P1 SM6/V500 | X | X | [6 empty] | X |  |  |  |  | 9015329D1
P2 | X | X | [6 empty] | X |  |  |  | 9015287F2 | 9015287F1
P3 | X | X | [6 empty] | X |  |  |  | 9015287G2
P5 | X | X | [7 empty] | X |  |  | 9015287H2 | 9015287H1
VERROUILLAGE I/S/SMALT OUVERT | X | X |  |  | X | X | X | X | X | X | X | X | 9015287L2* | 9015287L1*
2 VERROUILLAGES I/S/SMALT OUVERT | X | X |  |  | X | X | X | X | X | X | X | X | 9015287M2* | 9015287M1*
VERROUILLAGE SECTIONNEUR FERME | [6 empty] | X | X |  |  | X | X | 9015287N2 | 9015287N1
VERROUILLAGE SMALT FERME | X | X |  |  | X | X |  | X | X | X | X |  | 9015287P2* | 9015287P1*
VERROUILLAGE PANNEAU | X | X | X | X | X | X | X | X | X | X | X | X | 9015287Q2* | 9015287Q1*
2 VERROUILLAGES SMALT FERME | X | X |  |  | X | X |  | X | X | X | X |  | 9015287R2* | 9015287R1*
*SAUF COMPACT NS
SERRURES
CELLULE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE | [12 empty] | Clés plates (RONIS) | Clés tubulaires (PROFALUX) | Clés tubulaires (NOGAPI PS) | Clés plates (NOGAPI RP)
KIT SERRURE (CRM CHASSIS) | [7 empty] | X |  |  |  |  | AAV86887 | AAV86892
KIT SERRURE A GACHE | X |  | X |  | X | X |  |  | X |  |  |  | SPK0020SM6 | 3731439
KIT SERRURES (2 CYLINDRES, 1 CLE, 1 CALE) | X | X |  |  | X | X | X |  | X |  | X |  | 3731940* | 3731939*
KIT SERRURES (2 CYLINDRES, 1 CLE, 2 CALES) | X |  |  |  | X | X |  |  | X |  | X |  | 3731640 | 3731440
KIT 1 SERRURE CARRE A PENE + 2 SERRURES |  |  | X | X | [8 empty] | 3731641
KIT SERRURES (2 CYLINDRES, 1 CLE, 1 CALE) |  |  | X | X | [9 empty] | BBV23780
KIT SERRURES (2 CYLINDRES) |  |  | X | X | [10 empty] | 3731441
KIT SERRURES + CENTRALE A SERRURES | [10 empty] | X |  |  |  | 3731442 | 3731642
KIT SERRURES (1 CYLINDRE) | X | X |  |  | X | X | X |  | X | X | X | X |  |  | 3731443* | 3731643*
KIT SERRURES (2 CYLINDRES) | [7 empty] | X | [6 empty] | 3731444 | 3731644
KIT SERRURES NOGAPI RP + RONIS |  |  | X |  | X | X | [9 empty] | BBV23781*
*SAUF COMPACT NS
ACCESSOIRES
CELLULE | IM IMB | IMC | DM1 | DM2 | PM QM QMB | QMC | CM | CRM | NSM DDM | GAINES | SM | TM | REFERENCES
TYPE
BOUTON CADENASSABLE | X | X |  |  | X | X |  |  | X |  |  |  | 51070334A1
ECROU SERRAGE SERRURE | X | X | X | X | X | X | X | X | X | X | X | X | 1784702
ACCESSOIRES VERROUILLAGE INTER 1 OUV + 1 FERM (SANS SERRURES) | X | X |  |  | X | X |  |  | X |  |  |  | 9015287S1
ACCESSOIRES VERROUILLAGE SMALT 1 OUVERT + 1 FERME (SANS SERRURES) | X | X | X |  | X | X |  | X | X | X | X |  | 9015287T1
FAUSSE SERRURE | X | X | X | X | X | X | X | X | X | X | X |  | SPK0021SM6
ACCESSOIRES VERROUILLAGE TYPE C1 |  |  | X |  | X | X | [6 empty] | 3730349A
ACCESSOIRES VERROUILLAGE TYPE C4-C4D-C4C |  |  | X |  | X | X | [6 empty] | 3730350B
ACCESSOIRES VERROUILLAGE TYPE A3-A4 | X | X | [6 empty] | X |  |  |  | 3730351B
ACCESSOIRES VERROUILLAGE TYPE P1 | X | X | [6 empty] | X |  |  |  | 3730352B
ACCESSOIRES VERROUILLAGE TYPE P2 | X | X | [6 empty] | X |  |  |  | 3730353B
ACCESSOIRES VERROUILLAGE TYPE P3 | X | X | [6 empty] | X |  |  |  | 3730354C
ACCESSOIRES VERROUILLAGE TYPE P5 | X | X | [7 empty] | X |  |  | 3730355B
ACCESSOIRES VERROUILLAGE TYPE 50 |  |  | X | X | X | X | [6 empty] | 3730356A
ACCESSOIRES VERROUILLAGE TYPE 52 | [6 empty] | X | X |  |  |  |  | 3730357A