## P581020
Nb Instructions | 60000
| NO_DATA |  |  |  | BOOL | [5 empty] | INT | [5 empty] | DINT | [5 empty] | REAL
| Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs)
V2.70 IR 11 | 9 | 24 | 1 | 92 | 2594 | 62 | 2335 | 2915 | 2585 | 0.043083 | 17272 | 95 | 17073 | 17681 | 17263 | 0.28772 | 13623 | 100 | 13426 | 14043 | 13614 | 0.22705 | 18869 | 88 | 18557 | 19160 | 18860 | 0.31448

## P582040
Nb Instructions | 60000
| NO_DATA |  |  |  | BOOL | [5 empty] | INT | [5 empty] | DINT | [5 empty] | REAL
| Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs)
V2.70 IR 11 | 18 | 33 | 3 | 93 | 2639 | 80 | 2441 | 2923 | 2621 | 0.043683 | 18522 | 102 | 18295 | 18798 | 18504 | 0.3084 | 14776 | 124 | 14532 | 15358 | 14758 | 0.24627 | 23059 | 137 | 22714 | 23530 | 23041 | 0.38432

## P583040
Nb Instructions | 60000
| NO_DATA |  |  |  | BOOL | [5 empty] | INT | [5 empty] | DINT | [5 empty] | REAL
| Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs)
V2.70 IR 11 | 6 | 11 | 3 | 72 | 935 | 23 | 888 | 1095 | 929 | 0.015483 | 6723 | 42 | 6586 | 6928 | 6717 | 0.11195 | 5325 | 40 | 5255 | 5521 | 5319 | 0.08875 | 8462 | 29 | 8359 | 8625 | 8456 | 0.14103

## P584040
Nb Instructions | 60000
| NO_INSTRUCTION |  |  |  | BOOL | [5 empty] | INT | [5 empty] | DINT | [5 empty] | REAL
| Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs)
V2.70 IR 11 | 3 | 0.4 | 3 | 4 | 582 | 9 | 565 | 640 | 579 | 0.00965 | 4470 | 28 | 4427 | 4590 | 4467 | 0.07445 | 3576 | 23 | 3541 | 3690 | 3573 | 0.0596 | 5656 | 22 | 5612 | 5791 | 5653 | 0.094267

## P585040
Nb Instructions | 60000
| NO_DATA |  |  |  | BOOL | [5 empty] | INT | [5 empty] | DINT | [5 empty] | REAL
| Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs)
V2.70 IR 11 | 3 | 0.5 | 2 | 3 | 124 | 5 | 115 | 169 | 121 | 0.0020167 | 2448 | 13 | 2433 | 2497 | 2445 | 0.04075 | 2332 | 12 | 2322 | 2371 | 2329 | 0.038867 | 5406 | 14 | 5383 | 5448 | 5403 | 0.0901

## P586040
Nb Instructions | 60000
| NO_DATA |  |  |  | BOOL | [5 empty] | INT | [5 empty] | DINT | [5 empty] | REAL
| Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs) | Total Average Exec Time (µs) | Standard deviation | Min Time (µs) | Max Time (µs) | Average Exec Time (µs) | Average Exec Time IL (µs)
V2.70 IR 11 | 3 | 0.5 | 2 | 3 | 123 | 6 | 115 | 180 | 120 | 0.002 | 2444 | 14 | 2427 | 2493 | 2441 | 0.040683 | 2339 | 13 | 2325 | 2379 | 2336 | 0.038983 | 5402 | 15 | 5379 | 5443 | 5399 | 0.090033